ERA/TECH/Licence/2026-27/130                                                                    14 August 2026

PUBLIC NOTIFICATION: REQUIREMENT FOR LICENSING/EXEMPTION FROM LICENSE FOR SOLAR POWER PLANT DEVELOPMENT

The Electricity Regulatory Authority (ERA) would like to inform all prospective solar power developers, individuals, institutions, firms, companies and other interested entities that any person or entity intending to develop a grid-connected Solar Power Plant (as prescribed in the table below) is required to obtain the applicable license or exemption from license from ERA before commencing any development, installation or construction activities. The category, capacity range, and corresponding regulatory requirement are provided in the table below:

| Category | Capacity Range | Regulatory Requirement |
| --- | --- | --- |
| Rooftop Solar Power Plant | 30kWp and below | - Register with Bhutan Power Corporation Limited (BPC). - Exemption License is not required from ERA. |
|  | Above 30kWp and up to 1000kWp | - Requires Exemption license from ERA. |
| Ground-mounted Solar Power Plant | 300kWp and below | - Requires Exemption License from ERA. |
|  | Above 300kWp and up to 3000kWp | - Requires a License from ERA. |
| Utility Scale Solar Power Plant | For installed capacity more than 3000kWp |  |

For further details, please contact the Electricity Regulatory Authority (ERA) at 327317 or visit the ERA website at www.era.gov.bt